## Sheet1
ACTIVITY | ASSET_CATEGORY | OPERATOR_NAME | SITE_ID | ASSET_TYPE | ASSET_NAME | MANUFACTURER_SERIAL_NO | PARENT_SERIAL_NO | ASSET_TAG_NO | ATRIBUTE1 | ATRIBUTEVALUE1 | ATRIBUTE2 | ATRIBUTEVALUE2 | ATRIBUTE3 | ATRIBUTEVALUE3 | ATRIBUTE4 | ATRIBUTEVALUE4 | ATRIBUTE5 | ATRIBUTEVALUE5
ADDASSET | Passive |  | KA-188 | AC | Air Conditioner | ACR4322 |  |  | Make | Voltas Limited | Model | 165V Vectra Pearl | Capacity | 1.5 Ton | Maintenance Cycle | 18 Months | Status | Active
ADDASSET | Passive |  | KA-188 | SOLAR PANEL | VIKRAM SOLAR | ACR4323 |  |  | Make | VIKRAM SOLAR LIMITED | Status | Active | No. of Panels | 3
ADDASSET | Passive |  | KA-413 | BATTERY BANK | Exide Battery | ACR4324 |  |  | Make | Exide | Status | Active | Max Current | 10 Amp
ADDASSET | Passive |  | KA-413 | DIESEL GENERATOR | DIESEL GENERATOR | ACR4325 |  |  | Make | Kirlosker Industrial Solutions | Status | Active |  |  | Maintenance Agent | Mitsubishi | Owner Company | Mitsubishi
ADDASSET | Active | AIRTEL | KA-413 | RADIO ANTENNA | Airtel Radio Antenna | ACR4326 |  |  | Make | Airtel | Status | Active | Power Rating (KW) | 1.5
ADDASSET | Passive |  | KA-453 | AC | Air Conditioner | ACR4327 |  |  | Make | Voltas Limited | Model | 165V Vectra Pearl | Capacity | 1.5 Ton | Maintenance Cycle | 18 Months | Status | Active
ADDASSET | Passive |  | KA-453 | SOLAR PANEL | VIKRAM SOLAR | ACR4328 |  |  | Make | VIKRAM SOLAR LIMITED | Status | Active | No. of Panels | 3
ADDASSET | Passive |  | KA-112 | BATTERY BANK | Exide Battery | ACR4329 |  |  | Make | Exide | Status | Active | Max Current | 10 Amp
ADDASSET | Passive |  | KA-112 | DIESEL GENERATOR | DIESEL GENERATOR | ACR4330 |  |  | Make | Kirlosker Industrial Solutions | Status | Active |  |  | Maintenance Agent | Mitsubishi | Owner Company | Mitsubishi
ADDASSET | Active | AIRTEL | KA-112 | RADIO ANTENNA | Airtel Radio Antenna | ACR4331 |  |  | Make | Airtel | Status | Active | Power Rating (KW) | 1.5
ADDASSET | Passive |  | KA-162 | AC | Air Conditioner | ACR4322 |  |  | Make | Voltas Limited | Model | 165V Vectra Pearl | Capacity | 1.5 Ton | Maintenance Cycle | 18 Months | Status | Active
ADDASSET | Passive |  | KA-162 | SOLAR PANEL | VIKRAM SOLAR | ACR4323 |  |  | Make | VIKRAM SOLAR LIMITED | Status | Active | No. of Panels | 3
ADDASSET | Passive |  | KA-162 | BATTERY BANK | Exide Battery | ACR4324 |  |  | Make | Exide | Status | Active | Max Current | 10 Amp
ADDASSET | Passive |  | KA-162 | DIESEL GENERATOR | DIESEL GENERATOR | ACR4325 |  |  | Make | Kirlosker Industrial Solutions | Status | Active |  |  | Maintenance Agent | Mitsubishi | Owner Company | Mitsubishi
Note on A1: Mandatory Field Possible Values are: ADDASSET STN SRN
Note on B1: Mandatory Field Possible Values are: Active Passive
Note on C1: Mandatory for Active Asset
Note on H1: Mandatory for Chils Asset